Initial Considerations

Library diagram (include what adaptors, barcodes, UMIs, primers you included):

|-P5-|-Barcode-|-16S primer-|…~250bp….|-16S reverse primer-|-P7-|

In this library, the traditional forward and reverse read primers are replaced with 16S based primers. This means that the 16S primers are also part of the biological sequence. These primers are used in some illumina library preps (Illumina small rna 3’ adapters), and may show up as primers in fastqc, but should not be trimmed.

This was sequenced by the MiSeq, which is a 4 color system, and the default for no base call is A. As such terminating strings of A’s should be removed.

The barcodes are 12bp. I am in the process of getting the files for those, so we can remove any read through on read 2 (barcodes are on the 5’ side).

Initial Results
single __ paired_x_ other_____________

Sequence Properties:
General quality assessment: Undetermined reads had a lower read quality (average ~34 with long tail to 20), but the overall quality scores look good for demultiplexed files. The size of the undetermined reads is higher than I would normally expect, so we will want to look into that.
QC suggestions: Determine why there are so many undetermined – quality issues with barcode? Are these just bad reads? (lower priority)

Average and total depth: Each library produced ~0.1-0.2M reads, with only the undetermined being significantly out of range at 3.5M reads.
QC suggestions: Determine what is going on with the undetermined reads.

Average length/quality: 300bp, quality drops after 200 bp, particularly in Read 2. Read 2 is markedly lower, especially after 175bp. Overall, these are all consistent (other than undetermined) and uniform across samples.
QC suggestions: Standard quality filters.

De-duplication level: These data should have very high duplication levels, as this is amplicon data and all sequences are originating from a single loci. This is evident in the data, as all samples are listed as ~90%+ % duplicates.
QC suggestions: Nothing to be done here.

Contaminants:
Evidence of biological contamination: There are a lot of overrepresented sequences here, but we expect that in amplicon data. Additionally, we see consistent GC content (~54%) for all but the undetermined sequences. Consistency here indicates that there were not multiple sources of read input (as you would see in contamination). Blasting a couple of the over-represented sequences indicated that these were indeed the target ribosomal reads.
Source of contamination: none seen
QC suggestions: Nothing to be done here.

Evidence of technical contamination (adaptors, etc): After base ~140, there is an uptick in adapter content ranging from 0.12% to ~4.5% across samples. This is likely due to the similarity of the 16S primer and one of the Illumina adapter sequences, an artifact of how this library replaces the standard sequencing primer with one based on 16S. The highly consistent point of adapter identification at ~140 bp with no further increase after 150 bp supports that this is an erroneous identification of real sequence as adapter. Normally actual contamination would look more like the pattern seen with the undetermined data, where the levels steadily increase over time, rather than being flat. Additionally, the primer we know is similar to the sequences (Illumina small rna 3’) is the one being identified in the report.
Source of contamination: Adapters shown, but likely not real contamination.
QC suggestions: Removal of the adapters and barcode fragments with trimmomatic and sickle, as per standard; initially run with only P5 and P7 and barcodes used, re-evalutate.

Library prep issues:
Evidence of read through: No real evidence of this, other than small rna 3’ adapter misidentification.
Evidence of adaptor ligation: No evidence of this at this time.
Evidence of low-complexity sequences: No evidence at this time
Evidence of rRNA: No evidence of this at this time
QC suggestions: No additional needs here.

Other Concerns (outliers, etc):
Undetermined sequences need investigation.

Plan:
Trimmomatic and sickle trimming to remove any remaining P7, P5 adapters and barcodes, and run standard filters
Quality filter cutoff of 30
Leading/trailing filter to remove low quality ends
Separate and investigate undetermined reads separately, after initial clean up of other reads for the interest of time.

Post QC Results – important things to report in publication are in green

Commands or workflow used (report options used and version):

Sequence Properties:
   Average quality with SD:
   Average and total depth with SD:
   Average length with SD:
   De-duplication level*:

   Remaining Concerns?

Contaminants:
   Biological contamination removed and checked: Y__ N__
   All technical additions removed and checked: Y___ N___

   Remaining Concerns?

Library prep issues:
    Remaining Concerns or future updates?

Other concerns (platform error, etc)?